**FIELD REPORT:** Pamplin Access & Monitoring Report, 7/1/2013

|  |  |
| --- | --- |
| **Prepared by:** | Larry Atchison |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  | | --- | --- | --- | | **Parties Present** | **Organization** | **Email Address** | | Larry Atchison |  | atchison@lclark.edu | | | |
| **General Observation** | * Control panels in place with wire pulled to it. * Exterior doors ready for wire and hardware this week. * Doors safe and accessible. | |
| **Photos** |  | |
| **New Lenel controller panels mounted it IT room.** | | **Pathway for new wiring to exterior doors is complete.** | |