**FIELD REPORT:** Olin Field Report, 8/15/2013

|  |  |
| --- | --- |
| **Prepared by:** | Larry Atchison |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| |  |  |  | | --- | --- | --- | | **Parties Present** | **Organization** | **Email Address** | | | |
| **General Observation** | * Finishing mechanical and electrical connections for lab equipment. * Final completion by 8/23 | |
| **Photos** |  | |
| **New casework on north wall to replace old hoods in 220** | | **New articulated hoods for each work bench in 220** | |
| **Portion wall between 215 & 220 removed. Window added to west corridor** | | **New hoods in 116** | |
| **New door and drawer fronts in 116** | | **New chemistry research lab in 112** | |
| **New chemistry research lab in 104** | | **New flooring and benches for 204** | |
| **New seating for 204** | |  | |