**FIELD REPORT:** Sewer, Run B, Report, 8/15/2013

|  |  |
| --- | --- |
| **Prepared by:**  | Larry Atchison |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|

|  |  |  |
| --- | --- | --- |
| **Parties Present** | **Organization** | **Email Address** |
|  Larry Atchison |  | atchison@lclark.edu |

 |
| **General Observation**  | * Testing of pipe complete.
* Will open Templeton to Manor path by end of the week
 |
| **Photos**  |  |
| **Piping complete, but need to replace valve near parking lot.**  | **Pipe run complete without removal of trees.**  |
| **Repairing damaged storm line**  | **Grading for path replacement**  |
| **Path complete**  | **Tree protection in place**  |