**FIELD REPORT:** Sewer Report, Run B, 7/16/2013

|  |  |
| --- | --- |
| **Prepared by:**  | Larry Atchison |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|

|  |  |  |
| --- | --- | --- |
| **Parties Present** | **Organization** | **Email Address** |
|  Larry Atchison |  | atchison@lclark.edu |

 |
| **General Observation**  | * Getting started with this run this week.
* M&M Construction to have fencing in place this morning
 |
| **Photos**  |  |
| **Pavers removed for new manhole**  | **Survey stakes and utility locating paint**  |
| **Tree protection in place and plants salvaged**  | **200' of 8" pipe welded and ready to be pulled through as existing pipe is burst**  |