FIELD REPORT: Field Report, 6/10/2014

| Prepared by: | Larry Atchison |
| --- | --- |
| Project: | Juniper Renovation |

| Parties Present; Organization; Email Address. Larry Atchison; atchison@lclark.edu. |
| --- |
| General Observation |  |  |
| Photos |  |  |
| Footing for seismic upgrades |  | New window framing, east elevation |  |
| North foundation wall opening for new ventilation system |  | New basement windows, north elevation. |  |
| West wall |  | Only one area of rotted wall sheathing. |  |
| Electricians roughing in. |  | Channel on interior walls to help with acoustical separation between rooms |  |
| Clips from roof framing to walls for structural upgrades |  | Replacing floor joists |  |
| New beam at north entry stairwell |  | Cords & air hoses for 20 framers on site |  |
| Plumbing rough in |  |  |  |